## Sheet1
check_id | check_name | expected_value | demo_found_value | demo_status | evidence_box | component_type | notes
CHK-001 | Main Circuit Breaker (MCB) | Present & ON | Present & ON (Q1 63A) | PASS | 160,140,360,320 | Circuit Breaker | Verified 3-phase MCB installed on top DIN rail in closed position [Sample Demo]
CHK-002 | Safety Ground PE Bonding | Connected (Green-Yellow PE) | Disconnected / Open Lug | FAIL | 620,440,800,540 | Wiring | Earth bonding lug not secured to chassis grounding rail [Sample Demo]
CHK-003 | Terminal Strip TB-01..12 | Sequential Labeling (1-12) | Labeling obscured on TB-07..09 | Needs Manual Check | 160,420,520,520 | Terminal Block | Surface glare prevents OCR confidence on terminals 7 through 9 [Sample Demo]
CHK-004 | 24VDC Primary Power Supply | Power LED Green (24VDC OK) | Power LED Green | PASS | 420,140,580,320 | Power Supply | PSU indicator confirms stable 24V bus voltage [Sample Demo]
CHK-005 | PLC Controller Status | Status LED Normal | Status LED Normal (RUN) | PASS | 640,140,840,320 | Controller | Controller module powered and in active RUN state [Sample Demo]